## VA FUSION Configuration
San Francisco VA FACS FUSION Configuration Chart
BLUE (488nm excitation) | Detector | Band Pass Filter | Longpass Filter | Effective Range | Fluorochrome Examples
FSC | FSC | None | None |  | FSC
1 | A | 710/50 | 690LP | 685-735 | PE-Cy5.5 | PerCP-Cy5.5 | BB700 | PerCP-efluor710 | PerCP-BLUE (1) | 7AAD-BLUE (2)
2 | B | 530/30 | 505LP | 515-545 | FITC | GFP | Alexa Fluor 488 | CFSE | BB515 | YFP
SSC | SSC | 488/10 |  | 483-493 | SSC
RED (640nm excitation) | Detector | Band Pass Filter | Longpass Filter | Effective Range | Fluorochrome Examples
3 | A | 780/60 | 750LP | 750-810 | APC-Cy7 | APC-H7 | Ghost APC 780 | APC-FIRE | BD FVD 780
4 | B | 710/50 | 690LP | 685-735 | Alexa Fluor 700 | APC-R700 | BD FVD 700 | Nova Fluor Red 710
5 | C | 670/30 |  | 655-685 | APC | Alexa Fluor 647 | BD FVD 660
VIOLET (405 nm excitation) | Detector | Band Pass Filter | Longpass Filter | Effective Range | Fluorochrome Examples
6 | A | 780/60 | 750LP | 750-810 | BV786 | BV785
7 | B | 710/50 | 690LP | 685-735 | BV711
8 | C | 670/30 | 635LP | 655-685 | BV650
9 | D | 610/20 | 600LP | 600-620 | BV605
10 | E | 525/50 | 505LP | 500-550 | BV510 | Alexa Fluor 430 | eFluor 506 | BD FVD 510 | Pacific Orange | BV480 | BD V500
11 | F | 450/50 |  | 425-475 | BV421 | Sytox Blue | Pacific Blue | Alexa 405 | Dead Violet | BD FVD 450 | BD V450
YELLOW GREEN (561 nm excitation) | Detector | Band Pass Filter | Longpass Filter | Effective Range | Fluorochrome Examples
12 | A | 780/60 | 750LP | 750-810 | PE-Cy7
13 | B | 670/30 | 635LP | 655-685 | PE-Cy5 | 7AAD (1) | PerCP (2)
14 | C | 610/20 | 600LP | 600-620 | PE-efluor610 | Dead Red | PE-Dazzle 594 | PE-CF594 | BD FVD 620 | PE-Texas Red | Propidium Iodide (PI)
15 | D | 586/15 |  | 578-593 | PE | BD FVD 570 | TdTomato