## VA Fusion configuration
| San Francisco VA FACS FUSION Configuration Chart | [9 empty] | updated 12/16/2019
BLUE (488nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
| FSC | None | None |  | FSC
1 | A | 710/50 | 690LP | 685-735 | PE-Cy5.5 | PerCP-Cy5.5 | BB700 | PerCP-efluor710 | PerCP-A | 7AAD-B
2 | B | 530/30 | 505LP | 515-545 | FITC | GFP | Alexa 488 | CFSE | BB515 | YFP
| SSC | 488/10 |  | 483-493 | SSC
RED (640nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
3 | A | 780/60 | 750LP | 750-810 | APC-Cy7 | APC-H7 | Ghost APC 780 | APC-FIRE | BD FVD 780 | Alexa 750 (dim?) | Alexa 790 (dim?)
4 | B | 710/50 | 690LP | 685-735 | Alexa 700 | APC-R700 | BD FVD 700
5 | C | 670/30 |  | 655-685 | APC | Alexa 647 | BD FVD 660
VIOLET* (405 nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
6 | A | 780/60 | 750LP | 750-810 | BV786
7 | B | 710/50 | 690LP | 685-735 | BV711
8 | C | 670/30 | 635LP | 655-685 | BV650
9 | D | 610/20 | 600LP | 600-620 | BV605
10 | E | 525/50 | 505LP | 500-550 | BV510 | Alexa 430 | eFluor506 | Ghost Violet510 | Pacific Orange | BD FVD 510 | BV480 | BD V500
11 | F | 450/50 |  | 425-475 | BV421 | Sytox Blue | Pacific Blue | Alexa 405 | Dead Violet | BD FVD 450 | BD V450
Yellow Green (561 nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
12 | A | 780/60 | 750LP | 750-810 | PE-Cy7
13 | B | 670/30 | 635LP | 655-685 | PE-Cy5 | 7AAD-A | PerCP-B
14 | C | 610/20 | 600LP | 600-620 | PE-efluor610 | Dead Red | PE-Dazzle 594 | PE-CF594 | BD FVD 620 | PE-Texas Red | Propidium Iodide
15 | D | 586/15 |  | 578-593 | PE | BD FVD 570 | TdTomato
Try these spectral viewers to help you design your experiment, and determine fluor compatibility with the machine configuration.
https://www.bdbiosciences.com/en-us/applications/research-applications/multicolor-flow-cytometry/product-selection-tools/spectrum-viewer
https://www.biolegend.com/en-us/spectra-analyzer
https://www.thermofisher.com/us/en/home/life-science/cell-analysis/labeling-chemistry/fluorescence-spectraviewer.html
*** Cy5 and Cy5.5 tandem conjugates are poor choices due to spills, crossactivation and instability. Try to avoid PE-Cy5(.5) conjugates with APC. BV650 and PerCP can spread into APC. BV650 can bleed into BV421 (but for example, DX5 and CD11c do not overlap so can use DX5 BV650 together with CD11c BV421).
General guidance rules: If you have more than 1 marker on the same cell, separate them onto different lasers (e.g. CD3 PerCP and Ly6C APC). Do not put an abundant marker onto your brightest fluor. The first channel of each laser does not spill as much.

## VA Aria configuration
| San Francisco VA FACS ARIAIIU Configuration Chart | [9 empty] | updated CH 10/29/2018
BLUE (488nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
| FSC | None | None |  | FSC
1 | A | 780/60 | 735LP | 750-810 | PE-Cy7
2 | B | 695/40 | 655LP | 675-715 | PerCP | PE-Cy5.5*** | PE-Cy5*** | PerCP-eFluor710 | PerCP-Cy5*** | 7-AAD | PerCP-Cy5.5***
3 | C | 610/20 | 595LP | 600-620 | PE-efluor610 | Pe-Texas Red | Dead Red | PE CF 594 | PE-Dazzle 594
4 | D | 576/26 | 556LP | 563-589 | PE | Propidium Iodide | Alexa Fluor 555
5 | E | 530/30 | 502LP | 515-545 | FITC | GFP | Alexa Fluor 488 | CFSE | ALDH | DEAB
| F | 488/10 |  | 483-493 | SSC
RED (633nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
6 | A | 780/60 | 735LP | 750-810 | Alexa Fluor 750 | APC-Cy7 | APC-H7 | Alexa Fluor 790 | Ghost APC 780 | APC-FIRE
7 | B | 660/20 |  | 650-670 | APC*** | Alexa Fluor 647 | Alexa Fluor 610
C
VIOLET* (405 nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
8 | A | 670/30 | 635LP | 655-685 | BV650***
9 | B | 530/30 | 505LP | 515-545 | Pacific Orange** | Alexa Fluor 430 | eFluor506? | BV510 | GHOST VIOLET 510
10 | C | 450/50 |  | 425-475 | Sytox Blue | Pacific Blue** | Alexa Fluor 405 | Dead Violet | BV421
D
E
F
G
H
UV* (375nm excitation)
| Detector | Band pass Filter | Longpass filter | Effective range | FLUOROCHROMES
| A | 670/30 | 635LP | 655-685
| B | 530/30 | 505LP | 515-545
11 | C | 450/50 |  | 425-475 | DAPI | eFluor 455UV | Hoescht | Alexa Fluor 350
D
E
F
G
H
*The violet and UV lasers cannot be used simultaneously.
** In the Violet laser section, Pacific Orange and Pacific Blue have the same excitation and emission spectra (ex405/em455, 500, 551)
*** In the Blue and Red laser sections, Cy5 and Cy5.5 tandem conjugates are poor choices due to spills, crossactivation and instability. Try to avoid PE-Cy5(.5) conjugates with APC. BV650 and PerCP can spread into APC. BV650 can bleed into BV421 (but for example, DX5 and CD11c do not overlap so can use DX5 BV650 together with CD11c BV421).
General guidance rules: If you have more than 1 marker on the same cell, separate them onto different lasers (e.g. CD3 PerCP and Ly6C APC). Do not put an abundant marker onto your brightest fluor. The first channel of each laser does not spill as much.

## Sample Template Fusion
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
BB700, PE-Cy5.5 | FITC, BB515 | APC-FIRE, BD780 | AF700, APC-R700, BDH FVD700 | APC, BD 660 | BV786 | BV711 | BV650 | BV605 | BV510, BD V500, BV480 | BV421, Sytox Blue | PE-Cy7 | PE-Cy5 | PE-efluor610 | PE
Blue-A | Blue-B | Red-A | Red-B | Red-C | Violet-A | Violet-B | Violet-C | Violet-D | Violet-E | Violet-F | Yellow-Green-A | Yellow-Green-B | Yellow-Green-C | Yellow-Green-D
.

## Sample Template Aria
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
PE-Cy7 | PE-Cy5.5, PerCP | PE-efluor610, Dead Red | PE | FITC | APC-Cy7, AF750, APC-FIRE, GHOST RED 780 | APC, AF647 | BV650 | BV510, GHOST VIOLET 510 | BV450, BV421, Pac Blue, Sytox Blue, Dead Violet, AF405 | DAPI, efluor 455UV
Blue-A | Blue-B | Blue-C | Blue-D | Blue-E | Red-A | Red-B | Violet-A | Violet-B | Violet-C | UV-C
.